## Slide 1
Heraklion 19/06/2017
Project Overview

## Slide 2: Targeted breakthrough Long-term vision Novelty Highly ambitious Foundational character Interdisciplinary
Future Emerging Technologies (FET)
Review Meeting M24, Heraklion, 28/6/19
Capturing non-amplified tumor circulating DNA with ultrasound hydrodynamics
Started: 1st June 2017
Duration: 3 Years
Contract: 737212

## Slide 3: Molecular Diagnostics
1. DNA detection without PCR amplification
  Complex
  Prone to contamination
  Bias towards some sequences
Biophysics
2. Novel tool for ctDNA detection in
serum
Novel Scientific Concept
Challenge
Targeted breakthrough
3. Exhibit required LoD and selectivity
  10-1000 copies in 1-5 ml
  0.1-1% mt vs wt
Ambition
  D1 <<<< D2 <<<< D3
  2. Dissipation monitoring
  1. Hydrodynamic acoustic sensing
Review Meeting M24, Heraklion, 28/6/19

## Slide 4: Clinically-relevant detection limits of ctDNA
10-15
10-12
10-9
10-6
ctDNA present at sub-pM;
Tumor-specific mutations
present in sub-aM (10-18)
Labib M. et al., Chem. Rev. (2016) 116, 9001
Review Meeting M24, Heraklion, 28/6/19
WT: 50-5000 copies
MUT: 2-50 copies
Notes: Tumors are known to release NAs into the blood stream and the ability to monitor these molecular targets provides a means to collect genotypic information about a tumor noninvasively. Targeting ctDNAs is v. challenging as they are present with a large background of wild-type molecules. To circumvent this problem is to target within ctDNAs known mutations that are tumor specific; meaning v. low numbers of target DNA in the presence of a very high background noise in the level of 1:10000. Specificity is a serious issue.

## Slide 5
CATCH-U-DNA: concept & goals
Review Meeting M24, Heraklion, 28/6/19

## Slide 6
Main achievements- Year 2
1st prototype of acoustic array with 4 sensors with microfluidics
Simulation results prove hydrodynamic nature of energy dissipation
Characterization of range of liposomes; new particles under investigation
Protocol for DNA capture from serum in fluidized bed
Improved protocol for of BRAF-V600E enrichment with LCR
Detection of 105-106 molecules upon LCR & acoustic
amplification with liposomes
Collection/testing of 119 tumor tissue and 225/66 plasma clinical samples
New prospects for commercial exploitation (QCMTEC)
3340
Review Meeting M24, Heraklion, 28/6/19
24

## Slide 7: Consortium
Review Meeting M12, Brussels, 26/6/18